## Slide 1
Theo Fens
Delft University of Technology
IDIC/EDI online seminar hydrogen, September 2020
Production, transport, storage of hydrogen, the economics

## Slide 2: Green hydrogen: electrolysers and fuel cells
Source: Hydrogenics 2019 https://www.hydrogenics.com/
2

## Slide 3: Hydrogen colours, from Grey to Green, the economics
Source: ECN/TNO 2019 https://www.tno.nl/en/focus-areas/energy-transition/roadmaps/towards-co2-neutral-fuels-and-feedstock/hydrogen-for-a-sustainable-energy-supply/
3

## Slide 4: Levelised cost of green hydrogen from electrolysers
Source: Hydrogenics 2019 https://www.hydrogenics.com/
Symbol | Definition | Unit
LCOH | Levelized Cost of Hydrogen | €/kg H2
LCCO | Levelized cost of Capital and fixed Opex at 100% utilization | €/kg H2
Util | Utilization rate of the electrolyser | % of the time
LCOE | Levelized cost of electricity | €/kWhe
Eff | Efficiency of the electrolyzer | kWhe/kg H2
Green hydrogen requires green power, how about the LCOE of renewables?
4

## Slide 5: Levelised cost of renewable electricity in $/kWh, OPEX of green hydrogen…..
Source: Irena June 2020 https://www.irena.org/-/media/Files/IRENA/Agency/Webinars/2020/Jun/IRENAinsight-webinar_RPGC-in-2019-Overview.pdf?la=en&hash=80A08A29C8807989DC9DBA8E78E55B6124DC5E42
This band moves up when the CO2 price increases.
Green hydrogen from green power, options transport and storage?
5

## Slide 6: Transport & Storage of hydrogen: the options
Transport
  Pipelines (network)
  Trucks (tube trailer)
  Trucks (liquid)
  Ships (liquid)
Storage
  Salt caverns
  Gas fields
  Tubes (trailer)
  Sphere (liquid)
State
  Gas (up to 700 Bar)
  Liquid (-253 ˚C)
Other energy carriers
  Ammonia (NH3)
  Liquid Organic Hydrogen Carrier (LOHC)
300 m
70 m
Depth 1000 m
Production -> transport/storage -> end user: A hydrogen value chain?
6

## Slide 7: Elements of the hydrogen value chain
Source: EIA 2019 https://www.iea.org/reports/the-future-of-hydrogen
Note: LOHC = liquid organic hydrogen carrier.
Various modes of hydrogen transport are possible: gas, liquid, ammonia, LOHC. The choice depends on distance, volume and end use.
How about the transport economics?
7

## Slide 8: Full cost of hydrogen delivery to the industrial sector by pipeline or ship in 2030 for different transmission distances
Source: EIA 2019 https://www.iea.org/reports/the-future-of-hydrogen
Notes: Hydrogen production cost = USD 3/kgH2; assumes distribution of 100 tpd in a pipeline to an end-use site 50 km from the
receiving terminal.
Delivering hydrogen to the industrial sector is cheaper by pipeline for transport over shorter distances; above a certain distance shipping is a cheaper option.
8

## Slide 9: Transport of gas is much cheaper and more efficient than transport of electricity
  260 km
  € 600 mio
  1 GW capacity
  € 230/kW/100 km
  230 km
  € 500 mio
  20 GW capacity
  € 11/kW/100 km
  € 9/kW/100 km
Power
Gas
Offshore wind farms at GW scale: the combination of local conversion of power to hydrogen + a pipeline system may well be cheaper than a GW scale cable….certainly when current gas infrastructure is used.
Does hydrogen gas infrastructure require a new technology?
Leak-free: no losses
Unavoidable physical losses
9

## Slide 10: Existing hydrogen pipelines
Air products Air Liquide
These are industrial dedicated regional hydrogen networks, how about the hydrogen plans of the gas TSO’s?
10

## Slide 11: EU TSOs gas: European hydrogen infrastructure backbone
Source: Gas for climate July 2020 https://gasforclimate2050.eu/sdm_downloads/european-hydrogen-backbone/
A group of EU TSOs (Enagás, Energinet, Fluxys Belgium, Gasunie, GRTgaz, NET4GAS, OGE, ONTRAS, Snam, Swedegas (Nordion Energi), Teréga)
from nine EU member states presented on a plan to create a dedicated hydrogen pipeline network of almost 23,000 km by 2040, to be used in parallel to the natural gas grid.
This TSO network is intended for 100% hydrogen, what is the story on blending with natural gas?
Video hydrogen gas transmission line by Gasunie https://www.youtube.com/watch?v=a7iPqEdJ95s
Video hydrogen gas transmission line by Gasunie https://www.youtube.com/watch?v=a7iPqEdJ95s
11

## Slide 12: Current limits on hydrogen blending in natural gas networks and gas demand per capita in selected locations
Today most natural gas networks have limits on allowable hydrogen concentrations;
some with the strictest limits have the highest per capita natural gas demand.
Source: IAE WEO 2019 https://www.iea.org/reports/world-energy-outlook-2019
12

## Slide 13: Estimated tolerance to hydrogen blend shares of selected elements of existing gas distribution networks
Much existing equipment would need to be adapted to tolerate meaningful levels of
blending or be replaced by new equipment designed to tolerate pure streams of hydrogen.
Source: IAE WEO 2019 https://www.iea.org/reports/world-energy-outlook-2019
13

## Slide 14: Thank you for your attention
14

## Slide 15: Backup sheets
15

## Slide 16: Cost of shipping liquid hydrogen across regions 2030, $/kg
      Source: Hydrogen Council, Path-to-Hydrogen-Competitiveness _Full-Study-1 2019
https://hydrogencouncil.com/en/path-to-hydrogen-competitiveness-a-cost-perspective/
16

## Slide 17: The foreseen Dutch hydrogen grid
Source: Gasunie, 2019
17

## Slide 18: Hydrogen transmission networks in Germany, H2-Startnetz 2030, 1200 km
Source: FNBGas May 2020 https://www.fnb-gas.de/fnb-gas/veroeffentlichungen/pressemitteilungen/fernleitungsnetzbetreiber-veroeffentlichen-h2-startnetz-2030/
Notes: The plans for a hydrogen pipeline network set out in the Gas Network Development Plan (NDP) 2020-2030 have confirmed key elements of the visionary H2 network of January 2020. A first hydrogen network (H2 starter network 2030), which is needed to establish a hydrogen economy in Germany, can be developed quickly and at reasonable cost. The Gas NDP consultation document published by the transmission system operators on 4 May 2020 outlines concrete steps for the development of an H2 network. The first converted pipelines, which are expected to be available as early as the end of 2022, will provide the core of a nationwide H2 network gradually evolving until 2030 (especially in North Rhine-Westphalia and Lower Saxony).
18